## Slide 1: JWST NIRSpec MOS Observation Planning in APT
EXPANDING THE FRONTIERS OF SPACE ASTRONOMY
Dan Coe
ESA/AURA Astronomer
NIRSpec Instrument Scientist
since 2024

## Slide 2: NIRSpec team @ STScI
Roman
NIRSpec (Feb 2024)
James Muzerolle: Branch Lead, Branch Manager
Alaina Henry: Branch Deputy
Bethan James: Branch Deputy, IFU Pipeline Lead –> Roman
Diane Karakla: PPS Lead, User Support Lead, Calibration Support
Dan Coe: PPS Deputy, MOS Pipeline Lead
Glenn Wahlgren: ETC Lead, JDox Lead, Lead Pipeline Tester
Patrick Ogle: TTRB, User Support Deputy, JDAT, Calibration Support
Tony Keyes: Helpdesk Lead, TA Lead, Calibration Support
Torsten Boeker: Ops Lead, Documentation Czar, Calibration Support
Kayli Glidic: MSA Shorts & Operability, Calibration Support
Katie Bechtold: Flight Ops
Chris Trinh: Flight Ops
Rai Wu: Flight Ops
Bruce Barringer: Flight Ops
Tracy Beck: TA Support, Calibration Support
Cheryl Pavlovsky: Quicklook, Reference File Delivery Support, Lead Pipeline Tester
Nimisha Kumari: Calibration Lead
Elaine Frazer: Calibration Deputy, Calibration Support
Leonardo Ubeda: Reference File Delivery Lead
Chris Hayes: Pipeline Tech Lead, Team Software Support, Calibration Support
Munazza Alam: BOTS Pipeline Lead
Elena Manjavacas: FS Pipeline Lead, Calibration Support
Brad Sappington: Team Software Support, Calibration Support
Alex Fullerton: Calibration Support
Charles Proffitt: Calibration Support
Peter Zeidler: Calibration Support

## Slide 3: NIRSpec MOS Observation Planning in APT w/ MPT
MPT (MSA Planning Tool)
MSA (micro-shutter assembly)
APT Aladin
JWebbinars #30, #33
Diane Karakla
Dan Coe, Kayli Glidic
JWST Cycle 5 is ~ half NIRSpec. ~Half of that is MOS.

## Slide 4: NIRSpec MOS Observation Planning in APT w/ MPT
MPT (MSA Planning Tool)
MSA (micro-shutter assembly)
JWebbinars #30, #33
Diane Karakla
Dan Coe, Kayli Glidic

## Slide 5
MPT tries to optimize pointings and slits on your catalog targets
new review assistant
You assign target priority weights
MPT tries to maximize total

## Slide 6: NIRSpec MSA slits → detectors

## Slide 7: NIRSpec MSA slits → detectors

## Slide 8: NIRSpec MSA slits → detectors

## Slide 9: NIRSpec MOS + Fixed Slits + detector pixels
0.2” S200A2
0.2” S200A1
0.4” S400A1
1.6” S1600A1
0.2” S200B1
IFU

## Slide 10: NIRSpec MOS always obtains Fixed Slit data too
0.2” S200A2
0.2” S200A1
0.4” S400A1
1.6” S1600A1
0.2” S200B1
PID 1166 Obs 7
Confirmation images
can extract with our JDAT notebook

## Slide 11: MPT
MSA
Planning
Tool

## Slide 12: MPT
Wavelength
Ranges
Export to check
Require range
for any object

## Slide 13
  Catalog aligned to Gaia
  Enough reference stars / compact galaxies (FWHM < 0.2”)
  Integration times < 1,500 s
  Dither if deep
  High priority targets:
    Full depth
    Wavelength coverage
    Open more shutters? (e.g., 5 long)
    Fixed Slit + MOS?
NIRSpec MOS APT – Common Suggestions / Requirements

## Slide 14
  Proposal
  Acceptance? Congrats!
  Revisions? – # visits, pointings; constraints?
  Scheduling + Angle Assignment
  -8 weeks: MOS at assigned angle
  -4 weeks: Finalize APT
  -2 weeks (Wed.) Flight Ready
  Plan window start
NIRSpec MOS APT Submission Timeline

## Slide 15: JWST NIRSpec MOS pipeline
EXPANDING THE FRONTIERS OF SPACE ASTRONOMY
Dan Coe
ESA/AURA Astronomer
NIRSpec Instrument Scientist

## Slide 16
NIRSpec MOS pipeline
https://github.com/spacetelescope/jwst-pipeline-notebooks
https://github.com/spacetelescope/jdat_notebooks

## Slide 17
NIRSpec MOS – 1/f noise stripe removal – clean_flicker_noise

## Slide 18
NIRSpec MOS
Picture Frame Correction
https://github.com/spacetelescope/jdat_notebooks
JDAT = JWST Data Analysis Tools

## Slide 19
JWST Pipeline v 2.0 coming April 17
to replace v 1.20.2 https://jwst-pipeline.readthedocs.io
open source – pull requests welcome!
NIRSpec notebooks demo recent updates and provide tools: https://github.com/spacetelescope/jdat_notebooks/tree/main/notebooks/NIRSpec
1/f noise removal clean_flicker_noise
master background
extract fixed slit from MOS data (coming soon)
slits to sky mapping
MSA metafile
and more…
fundamental changes include:
memory usage reduced
empty datamodels changed
association yaml files deprecated
slits to sky

## Slide 20
NIRSpec Wavelengh Extension (~doubled for G140M & G235M!)
Preliminary
in progress
Eleonora
Parlanti
et al.
Parlanti+

## Slide 21: JWST NIRSpec MOS calibration
EXPANDING THE FRONTIERS OF SPACE ASTRONOMY
Dan Coe
ESA/AURA Astronomer
NIRSpec Instrument Scientist

## Slide 22
NIRSpec Calibration
Recent updates:
Flats (MOS, FS, IFU)
Pathloss (MOS, FS)
Background subtraction
IFU “wiggles”
IFU distortion model
In progress:
Wavelength extension
LSF = line spread function
IFU PSF centroid wander
Planned:
PSF-based extraction
IFU S-Flat
IFU wavelength gap – F-flat H-grating
JWebbinar #48
next Wed Apr 22
Peter Zeidler
MOS Pathloss

## Slide 23: NIRSpec Pathloss

## Slide 24: NIRSpec Pathloss
2.95 µm

## Slide 25: NIRSpec Pathloss
Improvement

## Slide 26: Background measurement & subtraction
Cataldi et al.
MARTA
median from nearby empty slits

## Slide 27: Median background measurement improvement
median from nearby empty slits

## Slide 28
IFU Wiggles Corrected in individual spaxels: NIRSpec MOS, MIRI MRS
IFU Adaptive Trace Model
David Law & Melanie Clarke
(2026) arXiv:2603.2691
Not on by default; reprocess
Requires continuum bright enough
Data
❌ Linear
✅ Spline

## Slide 29
JWebbinar #47

## Slide 30
JWST Documentation, Help, Notebooks
JDox – JWST Documentation https://jwst-docs.stsci.edu
JWST Help Desk – https://jwsthelp.stsci.edu
JWST Office Hours – https://outerspace.stsci.edu/spaces/JEA/pages/232358818/Webb+Office+Hours
JWebbinars – https://www.stsci.edu/jwst/science-execution/jwebbinars
JWST pipeline (open source; pull requests welcome!)
https://jwst-pipeline.readthedocs.io
JWST pipeline notebooks
https://github.com/spacetelescope/jwst-pipeline-notebooks + outputs = https://spacetelescope.github.io/jwst-pipeline-notebooks
JDAT = JWST Data Analysis Tools
https://github.com/spacetelescope/jdat_notebooks + outputs = https://spacetelescope.github.io/jdat_notebooks
Our high-z community
can organize to
share best practices
(as they do for exoplanets?)